MINUTES

OUTAGAMIE COUNTY DRAINAGE BOARD MEETING

FRIDAY, MARCH 15, 2024

The meeting was called to order at 9:00 by President Kramer at the Town of Center Town Hall.

Members present:  Kramer, Nettekoven, Van Eperen

Others Present: (Via Zoom): Nancy Christensen, Administrative Assistant; Vanessa Wishart, Stafford, Rosenbaum; Bart Chapman, WI DATCP; in attendance:  Justin Keen, Cedar Corp; Darin Tiedt; Calvin Tolfelson; Bissing, Darrin Stingle

Discussion and possible action on December 11, 2023 Drainage Board approval of Darin Tiedt, Crossroads Storage and revised data received.

150,000 pre development, 250,000 gallon post development, Stormwater Guidance states.  48 hours after 10 year storm.  What was approved? What is the total amount of water

Tolefson:  Larger amount of water being discharged over a longer period of time.  Putting water out at a longer period of time.

Kramer:  duration

Tolefson:

Keen:  they meet the lateral one per acre

Stingle:  the design was made to the OC guidelines, how do you know what projects are being

Kramer:  any development over an acre are brought to us for approval.

Tolefson:

Vanessa:  Total volume standard the issue

Kramer:  you can slow the rate down, but it’s the rate of discharge and length of dischargel.  The lateral can handle it but the main can not handle it.

Darrin Tiedt  You are saying the main can’t handle the water.

Nettekoven:  the engineer is telling us the main can’t handle it.

Kramer:  this effects everything downstream to the Bay.

Calvin:  you need to get your system on a model to see what is happening.  If you have different time periods of discharge.

Vanessa:  the Board approved this project with the understanding it met the standards of guidance.  We want to make sure it meets

Nettekoven:  at the last meeting we voted to rescind the approval

Vanessa:  not effective, proper notice was not noticed.

Nettekoven:  On December 11 we approved contingent with 250,000-300,000 gallons and pipe going to Stingle Road.

Keen:  I interrupted the calculations.  After meeting I noticed this stopped at 24 hours, I looked at what coming into pond.

Nothing has changed.

Kramer:  Our SW G  came about what because no one looks at what damage is done over period of time.  What is our requirements/duties?

Vanessa:  SWG the Board has the authority to connection to appropriately drain lands.  Lays out the requirements of the district drains.

Kramer:  Does this meet the requirements of the Duck Creek Drainage District?  I feel it doesn’t meet it.  Do we have the opportunity to make changes?

Tolefson:  How doesn’t it meet it

Keen:  Lateral One – if you look it meets it there.  IF you look further down stream – Duck Creek Main Ditch – it doesn’t meet the peak flow rate.

Darrin   What has to be done to meet that peak flow rate?

Keen:  SWG hold has much on site, volume held back, mechanically or infiltration which is difficult with clay.  (Page 4)

Tolfeson:  What is the standard?

Kramer:   The DNR will not allow us to expand the legal drains to the Bay.

Bart:  From an engineering standpoint  all ditches designed water within 48 hours.  Statute is not clear as to what point it has to be cleared.  Site, outlet to Green Bay, crops?  If we think of a retention pond design to regulate flow discharge, that would be the ideal solution.

I asked you for the (41.00) out flows, what is the rate of discharge from the retention pond?

Tiedt?Tolfeson:  What is the rate you want to discharge?

Bart:  .015 cfs is the ideal  out flow hydrograph, what is the flow

Stingle:  250,000 is the retention pond big enough to support 450,000 gallons?  The discharge pipe, can it handle the flow?

Vanessa:

Mike Bissing:  what happenings when this thing is sitting half full, plugs up,

Darin Tiedt:  There is a maintenance agreement of the pond.

Vanessa:  To try to provide technical standards.  No specifics in guidance now those standards are met.

Bart:  Guidance is a description of how water is held is not included, you need to provide that.  That is what I am missing.

Nettekoven:  Road side pipe size –

Tolefson:  8” pipe discharge to the ditch for 10 year event with rocks at end of outfall

Keen:  swale will take out some water,

Nettekoven:  .04 cfs

Kramer:  Van Asten/Van Eperen 10:18